## Slide 1
Wellington Water
NPSUDC
Water Supply

## Slide 2
We assessed if the current infrastructure has enough capacity for the forecasted population growth and we developed some useful tools along the way.
Notes: Storage and network, present to 2047. Storage based on guidelines. Network based on modelling, minimum pressure only.

## Slide 3: Spare Storage (2047)
Interim results for illustration only

## Slide 4: Storage shortfall (2047)
Interim results for illustration only

## Slide 5
Storage assessment
Existing and planned storage
Present and future storage requirements
Current PDD/dwelling
Current ADD/dwelling
Current leakage
Current commercial demand
Future dwellings
Future population
SCADA flow
Function sets
Night flow
Meters shapefile
Billing data
Current dwellings
Dwelling and population forecast
SGA
Development sites
Previous demand analyses

## Slide 8: Dwelling Model

## Slide 9: Dwelling Model

## Slide 10: Dwelling Model

## Slide 11: Dwelling Model

## Slide 12: Metered Customers

## Slide 13: Metered Customers UHCC
Geocode

## Slide 14: Demand Analysis

## Slide 15: Demand Analysis

## Slide 16: Demand Analysis

## Slide 17: WSA Assessment

## Slide 18
Storage assessment
Existing and planned storage
Present and future storage requirements
Current PDD/dwelling
Current ADD/dwelling
Current leakage
Current commercial demand
Future dwellings
Future population
SCADA flow
Function sets
Night flow
Meters shapefile
Billing data
Current dwellings
Dwelling and population forecast
SGA
Development sites
Previous demand analyses
Hydraulic model
GIS

## Slide 19
Network and reservoir planning
Current PDD/dwelling
Current ADD/dwelling
Current leakage
Current commercial demand
Future dwellings
Future population
SCADA flow
Function sets
Night flow
Meters shapefile
Billing data
Current dwellings
Dwelling and population forecast
SGA
Development sites
Previous demand analyses
DMA / telemetry validation
Regional demand analysis

## Slide 21
Thank you