## Slide 1: Working Together
Operators and Modellers
to improve efficiency
March 2019
Zoran Pilipovic and Mike Dunstone

## Slide 2: Overview
The Premise
Case Study 1 (Lincoln Swanson)
Case Study 2 (Albany)
Case Study 3 (Takapuna/Northcote)
Tips for Success

## Slide 3: The Premise
We don’t always get along

## Slide 4: The Premise
If we work together we can be successful
What we do:
Optimised Solutions
Links to strategic plan
Customer impact assessment
Control and operation
Outcome:
New Approaches and ideas
Well rounded future proof
solutions
Happy Customers

## Slide 5: Case Studies - Overview
Case Study 2
Case Study 1
Case Study 3
Albany
Takapuna and Northcote
Lincoln/Swanson

## Slide 6: Case Study 1 – Lincoln Swanson
HGL 135m
HGL 75m
HGL 75m
HGL 101m
PRV
Massey
Swanson
Lincoln
Issues:
The biggest zone in WA had no alternative supply
Hospital, shopping malls,
schools were effected.
Commissioning of Triangle Rd PS could create dirty water issues

## Slide 7: Case Study 1 – Lincoln Swanson
HGL 135m
HGL 75m
HGL 75m
HGL 101m
A.V.
Pipework
PRV
PRV
PRV
Massey
Swanson
Lincoln
Solution:
Utilized oversized assets in Massey Zone.
New PRVs installed.
Additional supply and more efficient system to LZ established.
Triangle Road

## Slide 8: Case Study 2 – Albany
Albany
HGL 80m
Issues:
Burst water main in Albany
Shopping centre shut down
No alternative supply

## Slide 9: Case Study 2 – Albany
PRV
PRV
Pipework
ZV removed
Three valves
Albany
HGL 80m
Solution:
New PRVs
New pipework
Three new valves
Alternative system established

## Slide 10: Case Study 3 – Takapuna and Northcote
PRV
Takapuna
Issues:
Takapuna and Northcote zones were exposed to higher and unstable pressures

## Slide 11: Case Study 3 – Takapuna and Northcote
PRV
PRV
PRV
PRV
PRV
PRV
Takapuna
HGL 80m
Solution:
PRVs installed at 7 bulk supply points
Pressures reduced
Northcote

## Slide 12: Tips For Success
Communication is key
Make sure everyone’s on the same page
Respect each others strengths (and weaknesses)
Build knowledge culture

## Slide 13: Working Together
Operators and Modellers to improve efficiency
March 2019
Zoran Pilipovic and Mike Dunstone