## Slide 1: Bioelectrochemical systems for enhanced wastewater treatment and energy recovery
Ricardo Bello-Mendoza
Dept. of Civil and Natural Resources Engineering
University of Canterbury

## Slide 2
Wastewater treatment consumes 0.6 kWh/m3, about half of which is for electrical energy to supply air for the aeration basins McCarthy et al. Environ. Sci. Technol. (2011)

## Slide 3
High-rate anaerobic reactors can provide satisfactory levels of wastewater treatment with a positive energy balance

## Slide 4
Up-flow Anaerobic Sludge Blanket Reactor (UASB)
Influent
Effluent
Sludge bed
Gas collector
Settler
Weir
Baffle

## Slide 5
Biomass to secondary energy carriers
microbial fuel cells
microbial electrolysis cells
de Groot (2003). In: Bio-Methane & Bio-Hydrogen.

## Slide 6
Electron flow during respiration: electrochemistry
e-
O2
H2O
Anode
×
EO2=0.82 V
ENAD=-0.32 V
ΔEo’ = 1.14 V
ΔEbact
ΔEMFC
ΔEloss

## Slide 7: Two-chamber, aqueous-cathode microbial fuel cell
Microbial fuel cell (MFC)
Membrane
Anode
Cathode
bacteria
Fuel (wastes)
e-
e-
O2
H2O
H+
Liu et al., Environ. Sci. Technol. (2004)

## Slide 8
How do electrons reach the electrode?
e
Carrier (oxidized)
Carrier (reduced)
Bacterium
Fe (III)
e
e
e
Mediators such as pyocyanin produced by Pseudomonas spp.
Outer membrane cytochromes produced by Shewanella and Geobacter

## Slide 9
How do electrons reach the electrode?
e
Carrier (oxidized)
Carrier (reduced)
Bacterium
e
e
e
3) Nanowires (conductive pili)
Bacteria that can transfer electrons directly to the electrode:
- Geobacter sulfurreducens - Alteromonas sp. - Shewanella spp.
Bacterium
Electrode
e-
e-
e-
Source: Gorby et al. PNAS (2006)
Fe (III)

## Slide 10: Does an MFC improve effluent quality? Does it improve energy recovery?
Domestic wastewater treatment with UASB and MFC systems

## Slide 11
TOC removal efficiency
UASB
MFC
UASB-MFC
Total organic carbon removal (%)
3 h HRT
6 h HRT
12 h HRT
3 + 3 h
3 + 9 h
6 + 6 h

## Slide 12
TSS removal efficiency
3 h HRT
6 h HRT
12 h HRT
UASB
MFC
UASB-MFC
3 + 3 h
3 + 9 h
6 + 6 h
Total Suspended Solids removal (%)
100

## Slide 13
Electricity from domestic wastewater
Glucose
Source: Liu & Logan Envion. Sci. Technol (2004)

## Slide 14
MFC performance
HRT (h) | Feed | Voltage (mV) | Power density (mW/m2) | Coulombic efficiency (%)
3 | UASB effluent | 15 – 284 | 11.0 | 4.0
6 | UASB effluent | 3 – 11 | 0.04 | 0.2
6 | Raw wastewater | 25 – 122 | 5.02 | 0.7
9 | UASB effluent | 13 – 237 | 8.0 | 3.0
12 | Raw wastewater | 76 – 999 | 173.0 | 8.0

## Slide 15
Polarization and power density curves
Cell voltage (mV)
Resistance (Ω)

## Slide 16
Polarization and power density curves
Current density (mA/cm2)
Power density (mW/cm2)
Polarization curve
Power density
Cell voltage (mV)

## Slide 17
MFC performance
External resistance (Ω) | COD in (mg/L) | COD out (mg/L) | COD removal (%) | Power density (mW/m2) | Coulombic efficiency (%)
150 | 399 | 240 ± 32 | 40 ± 7 | 9.75 | 4.80
560 | 399 | 123 ± 23 | 69 ± 6 | 17.85 | 1.85
1000 | 399 | 80 ± 48 | 80 ± 12 | 21.28 | 1.28
3300 | 316 | 67 ± 26 | 79 ± 8 | 23.61 | 0.95
5500 | 368 | 147 ± 14 | 60 ± 4 | 28.54 | 0.91
10000 | 368 | 114 ± 21 | 69 ± 6 | 22.42 | 0.44
15000 | 368 | 82 ± 40 | 78 ± 11 | 17.57 | 0.34

## Slide 18: Conclusions
The UASB – MFC system produces effluent of better quality than the two reactors separately
Up to 173 mW/m2 produced by the MFC
A complete energy balance still needed
Optimization of operational parameters may improve system performance

## Slide 19
H2
Cathode
CO2
e-
H+
e-
Bacteria
Anode
PEM
PS
O2
Ref: Liu, Grot and Logan, Environ. Sci. Technol. (2005)
No oxygen in anode chamber
0.25 V needed (vs 1.8 V for water electrolysis)
Microbial Electrolysis Cell (MEC)

## Slide 20
H2, CH4
Cathode
CO2
e-
H+
e-
Bacteria
Anode
PS
Anaerobic cell
Single chamber, membrane free MEC