## Slide 1
Phil de Groot and Hugh Ratsey
19 October 2022
Using remote on-line data analytics and AI to identify the rats in your sewer

## Slide 3: Contents
Introduction and monitoring – and the driver
Kando system
Monitoring programme
Monitoring outcomes
TRILITY response to events
Next steps
Questions

## Slide 4: Rotorua Wastewater Treatment Plant

## Slide 5: Christmas 2020/21

## Slide 6: Christmas 2020/21

## Slide 7: Monitoring programme – Kando system
Continuous monitoring
Data transmission to the cloud
Machine-learning algorithms derive Pollution Index (PI)
User interface in real time
Identifies, and links, Pollution Events (PE)
Sample collection (and analysis)

## Slide 8: Kando equipment
Sensors Used in the Pilot Program
pH
Conductivity
Oxidation-Reduction Potential (ORP)
Temperature
8 Smart Units and 5 autosamplers were used in the Pilot Program

## Slide 9: Monitoring programme – Kando installation

## Slide 10: Monitoring programme – locations
Rotorua Lakes Council
565 km of sewers
78 sewer pump stations
Where to monitor?

## Slide 11: Monitoring programme – locations
WWTP
West Inlet
East Inlet
Hona Rd PS
Business 4
Business 1
Business 2
Business 3
Depot St PS

## Slide 12: Monitoring zones

## Slide 13: Monitoring programme – results

## Slide 14: Monitoring programme – results

## Slide 15: Monitoring programme – results

## Slide 16: Monitoring programme – results

## Slide 17: Monitoring programme – results

## Slide 18: Discussion

## Slide 19: Discussion

## Slide 20: Discussion

## Slide 21: Next steps: Industrial zone east Rotorua

## Slide 22: Next steps: Rotokawa industrial zone

## Slide 23: Key lessons learned
Collection of sample volume
Routine preventative maintenance
Consistency in sample numbering and tracking
Evidence and follow-up with trades waste emitters
Toxicity testing and conventional analysis

## Slide 24: Collaboration with all stakeholders

## Slide 25: Acknowledgements
Andre Dine (TRILITY) - co-author
TRILITY operators
Rotorua Lakes Council
Co-Lab
Kando
Detection services
Andre Dine

## Slide 26
Questions and Answers
‘The incoming waste quality is as important to the plant as the assets, routine operations and maintenance, and the overall process management.’