## Slide 1
Water New Zealand
Modelling Group
HIRDS v4
Impacts on models and designs
14 Mar 2019

## Slide 2
HIRDSv4 - What is new?
LTA requirements
Impacts
Conclusions
Implementation / Way Forward
HIRDS v4 – Impact on modelling and design

## Slide 3
HIRDS v3
  Launched 2010
  Records 2006
Key differences:
  About 10 years additional rainfall data
  Large increase automated raingauges
  Changes in statistical calculations
  Many older records were not included in v3
  Changes to climate change
What’s new?
Notes: 3404 stations used
Nearly 100,000 station-years

## Slide 4
Example Auckland Airport

## Slide 5
2 hr Duration

## Slide 7
MfE Publications Guidelines 2008 Projections 2016 Projections 2018
Climate Change

## Slide 8
Time horizon
Introduction of RCP
Change in percentage change factors
Changes in climate change
Notes: RCP – Representative Concentration Pathways

## Slide 10
MfE 2008: 2.0˚ - 2.1˚C
Temperature increase

## Slide 12
All LTA’s require allowance for climate change
All based on MfE 2008
LTA Requirements

## Slide 13
Notes: Historical data
24 h good match
Some large variations for 10min storms
Tauranga LTA conservative
Kapiti inland LTA conservative
WLG pretty good match
CHC port hills LTA conservative
2090:
10 min HIRDSv4 typically >> LTA
24h pretty good match

## Slide 14
HIRDS v4 data can vary significantly from v3
Differences between HIRDS v4 and LTA rainfall data are small for 24hr events, but large for 10min storm durations.
This has significant impact on urban flooding as 10min storms often critical duration for design.
Conclusions

## Slide 15
What RCP to be used?
Adaptation of risk based approach?
What are the consequences for Councils?
Where from here?

## Slide 16
Trevor Carey-Smith – NIWA
Thank you to